|  |  |  |
| --- | --- | --- |
| Date of Calibration | JCI 131 Field Mill | |
| Offset | Divisor |
| 01/05/2015 | -0.031 | 0.002584 |
| 17/01/2017 | 0.00412 | 0.004024 |
| 24/05/2012[[1]](#footnote-1) | 0.00903 | 0.00463 |

1. The date of calibration stated is an estimate on the creation date of calibration file as no other information are known. [↑](#footnote-ref-1)